## Sheet1
Table: LED Lighting Details
Room | Old Fitting (excluding ballast loss factor) | Quantity of Fittings | Total Wattage | Hours of Use | Proposed Make & Model | Description of Proposed Fittings | Proposed Quantity | Proposed Wattage per Fitting | Price per Unit | Explanation of Suitability | Additional Information (such as maintenance; warranty; quality and standards)
Conference Room | 1200 x 600 Panel 4x T8 36W | 21 | 3024 | 10:00-14:00 M-F
Library | 1200 x 600 Panel 4x T8 36W | 2 | 288 | 10:00-11:00 M-F
File Room | 1200 x 600 Panel 4x T8 36W | 2 | 288 | 10:00-11:00 M-F
Stationery Room | 1200 x 600 Panel 4x T8 36W | 8 | 1152 | 10:00-13:00 M-F
Bay 5 (needs ceiling tile infills) | 1200 x 600 Panel 4x T8 36W (this is not a suspended ceiling fitting) | 157 | 22608 | 07:00-18:00 M-F
Exterior | Metal Halide 400W - Flood | 13 | 5200 | Dusk-Dawn x7
Exterior | Metal Halide 250W - Flood | 4 | 1000 | Dusk-Dawn x7
Catering Workshop | 6ft Twin 2 x T8 70W | 18 | 2520 | 10:00-14:00 M-F
Water Plant Room | 6ft Twin 2 x T8 70W | 10 | 1400 | 10:00-14:00 M-F
Aquazero | 250W MBFU | 8 | 2000 | 08:00-17:00 M-F
Back Canteen | 1200 x 600 Panel 4x T8 36W | 6 | 864 | 07:00-18:00 M-F
Offices | 600 x 600 Panel 2 x PL Lamps 34W | 54 | 3672 | 07:00-18:00 M-F
Reception & toilets | Recessed 42W PL Lamp | 18 | 756 | 07:00-18:00 x7
Back Corridor | 600 x 600 Panel 4x T8 18W | 13 | 936 | 07:00-18:00 x7
Server Room | 600 x 600 Panel 4x T8 18W | 1 | 72 | 10:00-11:00 M-F
Croft
Compound | Metal Halide 400W - Flood | 46 | 18400 | Dusk-Dawn x7
Compound entrance (6m pole) | SON 70W | 3 | 210 | Dusk-Dawn x7
Car Park (10m pole) | N/A | 0 | 0 | Dusk-Dawn x7
Building floodlights | SON 250W | 3 | 750 | Dusk-Dawn x7
Bay D | 250W HQI | 9 | 2250 | 08:00-17:00 M-F
Bay D Toilet | 60W Lampholder | 2 | 120 | 10:00-13:00 M-F
Bay E | 250W HQI | 15 | 3750 | 08:00-17:00 M-F
Bay F | 250W HQI | 9 | 2250 | 08:00-17:00 M-F
Bay G | 250W HQI | 18 | 4500 | 08:00-17:00 M-F
Shop office upper | 6ft Single 1 x T8 58W | 4 | 232 | 08:00-17:00 M-F
Shop office lower | 50W Downlight MR11 | 11 | 550 | 08:00-17:00 M-F
Main Entrance | N/A | 0 | 0 | 07:00-18:00 x7
Reception Desk | 5ft Twin 2 x T8 58W - IP65 | 1 | 116 | 07:00-18:00 M-F
Reception Seating Area | N/A | 0 | 0 | 07:00-18:00 M-F
Reception Store | 60W Lampholder | 4 | 240 | 10:00-13:00 M-F
Corridor E-W | 5ft Twin 2 x T8 58W - IP65 | 2 | 232 | 07:00-19:00 x6
Entrance (Yard) | 60W Lampholder | 1 | 60 | 07:00-19:00 x6
Office 1 (weighbridge) | 5ft Twin 2 x T8 58W - IP65 | 1 | 116 | 10:00-13:00 M-F
Ladies Toilets | 60W Lampholder | 2 | 120 | 10:00-13:00 M-F
Gents Toilets | 60W Lampholder | 2 | 120 | 10:00-13:00 M-F
Stationery Cupboard | 60W Lampholder | 1 | 60 | 10:00-13:00 M-F
Kitchen | 5ft Twin 2 x T8 58W - IP65 | 1 | 116 | 07:00-19:00 x6
MPT office | 5ft Twin 2 x T8 58W - IP65 | 4 | 464 | 07:00-19:00 x6
Transport office | 5ft Twin 2 x T8 58W - IP65 | 1 | 116 | 07:00-19:00 x6
Office West 1 | 5ft Twin 2 x T8 58W - IP65 | 1 | 116 | 08:00-17:00 M-F
Office West 2 | 5ft Twin 2 x T8 58W - IP65 | 2 | 232 | 08:00-17:00 M-F
Office West 3 | 5ft Twin 2 x T8 58W - IP65 | 2 | 232 | 08:00-17:00 M-F
Office East 1 | 5ft Twin 2 x T8 58W - IP65 | 2 | 232 | 08:00-17:00 M-F
Office East 2 | 5ft Twin 2 x T8 58W - IP65 | 2 | 232 | 08:00-17:00 M-F
Office East 3 | 5ft Twin 2 x T8 58W - IP65 | 1 | 116 | 08:00-17:00 M-F
Conference East 4 | 5ft Twin 2 x T8 58W - IP65 | 2 | 232 | 08:00-17:00 M-F
IT Room | 5ft Twin 2 x T8 58W - IP65 | 3 | 348 | 10:00-13:00 M-F
Entrance (Car Park) | 60W Lampholder | 1 | 60 | 10:00-13:00 M-F
Workshop | 5ft Single T8 58W - IP65 | 12 | 1392 | 07:00-17:00 M-F
Workshop Office | 5ft Single T8 58W - IP65 | 1 | 80 | 07:00-17:00 M-F
Blacksmiths Store | 4ft Single T8 58W - IP65 | 8 | 464 | 07:00-17:00 M-F
Blacksmiths Forge | 8ft Single T8 100W | 3 | 300 | 07:00-17:00 M-F